## Slide 1: Error Analysis
Quality of measurements (standard deviation, full with at half maximum FWHM)
Statistical error: peak on top of a background
Mean value and standard deviation (without and with errors of individual data points)
Results for a limited number of measurements
Least-squares regression
Decay curve measured with low statistics

## Slide 2: Gaussian Function
Gaussian function:
Full Width at Half Maximum:

## Slide 3: Quality of Measurements: Resolution
Resolution is generally defined as 1 standard deviation for a Gaussian distribution, or full width half maximum ().
If the measurement is dominated by Poissonian fluctuations:
Fano factor F: fluctuations on N are reduced by correlation in the production of consecutive e-hole pairs. For Germanium detectors

## Slide 4: Quality of Measurements: Resolution
Resolution is generally defined as 1 standard deviation for a Gaussian distribution, or full width half maximum ().
If the measurement is dominated by Poissonian fluctuations:
What if the distribution is not Gaussian?
- box distribution:
- other distributions: RMS, RMS90, quartiles

## Slide 5: Statistical Error: Peak on top of Background
peak
+ background
The area above the background represents the total counts between the vertical lines P minus the trapezoidal area B (red hatched). If the total counts are (P+B) and the end-points of the horizontal line are B1 and B2 (width of B1 + B2 = width of B), then the net area is given by:
The standard deviation of ΔP is given by:

## Slide 6
The mean value and the standard deviation
mean value
standard deviation
standard normal distribution
68.3% of data in the interval μ ± σ
94.4% of data in the interval μ ± 2σ
99.7% of data in the interval μ ± 3σ
weighted mean value
weighted standard deviation

## Slide 7
The mean value and the standard deviation
weighted mean value
weighted standard deviation
The weight wi is given by the errors of the individual data xi ± σi
weighted mean value
weighted standard deviation

## Slide 8
Experimental standard deviation
weighted standard deviation
Basic problems:
The number of trial measurements are limited.
The observed errors in these measurements include both random and systematic errors.
For the error σA of the weighted mean can yield unphysical values for very small samples.

## Slide 9
Least-Squares Regression
The principle of least squares is one of the popular methods for finding a curve fitting a given data.
Say (x1,y1), (x2,y2), ... (xn,yn), be n observations from an experiment. We are interested in finding a curve
scattered data
polynomial fit
approximate fit

## Slide 10
Least-Squares Fit of a Straight Line
We are interested in finding a curve
We consider the sum of the squares of
We need to find a,b such that χ2 is minimum.

## Slide 11
Least-Squares Fit of a Straight Line
In matrix form
The 2x2 matrix inverse is

## Slide 12
Least-Squares Fit of a Straight Line
i | xi | yi | xi∙yi | xi2 | f(x) | [yi-f(xi)]2
1 | 208 | 21,6 | 4492,8 | 43264 | 24,9 | 10,9
2 | 152 | 15,5 | 2356 | 23104 | 15,9 | 0,2
3 | 113 | 10,4 | 1175,2 | 12769 | 9,6 | 0,6
4 | 227 | 31,0 | 7037 | 51529 | 27,9 | 9,6
5 | 137 | 13,0 | 1781 | 18769 | 13,4 | 0,2
6 | 238 | 32,4 | 7711,2 | 56644 | 29,7 | 7,3
7 | 178 | 19,0 | 3382 | 31684 | 20,0 | 1
8 | 104 | 10,4 | 1081,6 | 10816 | 8,1 | 5,3
9 | 191 | 19,0 | 3629 | 36481 | 22,1 | 9,6
10 | 130 | 11,8 | 1534 | 16900 | 12,3 | 0,3
Σ | 1678 | 184,1 | 34179,8 | 301960 | 183,9 | 45
Example:
b = 0,161±0,017
a = -8,65±2,89
Geben Sie hier eine Formel ein.
standard deviation:
error propagation:

## Slide 13
Least-Squares Regression
Linear models are not limited to being straight lines, but include wide range of shapes. For example
Linearization of non-linear relation:

## Slide 14
Weighted Least-Squares
with the weight given by the individual errors
Example:

## Slide 15
Appendix

## Slide 18
Radioactive Decay Activities
parent
isotope
(red)
daughter
isotope
(grey)
number of half-lives
percentage of parent isotope remaining

## Slide 19
Radioactive Decay Activities
with y = ln(N), a = ln(N0) and b = -1/τ
uncertainty of decay counts (Poisson):
At time progresses, N, is getting smaller and smaller.
What is the uncertainty of ln(N) ?

## Slide 20
The Background Radiation
Background radiation is the radiation constantly present in the natural environment of the Earth which is emitted by natural and artificial sources (D = N)
D*=D+DB D=D*-DB
Sources in the Earth
Sources from outer space, such as cosmic rays
Sources in the atmosphere, such asthe radon gas released fromthe Earth‘s crust
Attention: Error Propagation !

## Slide 21
One run of decay counts/interval (D) vs. time (t)
  Must start counting shortly after sample is loaded
  Sampling rate: 10 second/sample (Δt)
  Run time: 600 seconds (# of measurements: n=60).
Measurement of background radiation
  Wait 20-30 minutes
  Repeat the counting experiment in 1.
  Make sure no other radioactive sources near your counter
Analyze data
  Subtract background D=D*-Db, error propagation.
  plot D vs. t and lnD vs. t
  Least square fit and overlap your fitting curves with data plots.
Least Squares Fitting of Decay Counts

## Slide 22
Representation of Decay Curve
t/s
Binning of a data set is a pre-processing technique for data smoothing .
The content of 10 original channels is now contained in 1 new channel
t/s
τ=14 s
lifetime:

## Slide 23
Representation of Decay Curve
The maximum likelihood estimate of the lifetime τ
dt=t∙d
K.H.Schmidt, Z.Phys. A316 (1984), 19

## Slide 24
Representation of Decay Curve
The maximum likelihood estimate of the lifetime τ
lifetime:
K.H.Schmidt, Z.Phys. A316 (1984), 19
t/s
τ=14 s
Θmax = ℓn (τ) = 2.64 → τ = 14.1 s

## Slide 25
Representation of Decay Curve
The maximum likelihood estimate of the lifetime τ
Logarithmic decay-time distribution of 5 events observed in the  decay of 271110 with alpha energies close to 10.74 MeV. Data are taken from S.Hofmann, Rep.Prog.Phys. 61(1998), 639. The curve shows the logarithmic decay-time distribution (τ=2.3 ms). The units on the ordinate are arbitrary.
no. | t (ms)
1 | 0.6
2 | 1.8
3 | 4.4
4 | 0.5
5 | 2.6
average value: 2.0 ms

## Slide 26: Solid angle
d
1 Ci = 3.7·1010 Bq
Ω = solid angle between source and detector (sr)
For a point source:
d (cm) r = 3cm |  | 
5 | 7.13 | 55
10 | 2.11 | 2.25
15 | 0.97 | 1
d (cm) r = 3cm |  | 
5 | 7.13 | 55
10 | 2.11 | 2.25
15 | 0.97 | 1

## Slide 27: Luminosity
accelerator current: 1 nA What is the number of projectiles?
1 particle / s ≡ 1.6·10-19 C/s
6.25·109 particles / s ≡ 1 nA
28Si target thickness: 1 mg/cm2 How many target nuclei?
28 g/cm2 Silicon ≡ 6.02·1023 atoms/cm2
1 mg/cm2 Silicon ≡ 2.15·1019 atoms/cm2
Luminosity = 6.25·109 · 2.15·1019 = 1.34·1029 [s-1 cm-2]
event rate [s-1] = luminosity [s-1 cm-2] · cross section [cm2]
= 1.34∙1029 [s-1 cm2] ∙ cross section [~ mb = 10-27 cm2] ≈ 102 [s-1]