## Slide 1: γ-ray spectroscopy
γ-decay is an electromagnetic process where the nucleus decreases in excitation energy, but does not change proton or neutron numbers
This decay process only involves the emission of photons (γ-rays carry spin 1)
Basic γ-ray properties, observables
γ-ray interactions in matter
Detector types
Measurement techniques

## Slide 2: Electromagnetic spectrum

## Slide 3: γ-decay
Gamma-ray emission is usually the dominant decay mode
137Cs detected in red: NaI scintillator
blue: HPGe (high purity Ge semiconductor)
Measurements of γ-rays let us deduce:
Energy, Spin (angular distr. / correl.), Parity (polarization), magnetic moment,
lifetime (recoil distance, Doppler shift), …
of the involved nuclear levels.

## Slide 4: γ-decay in a Nutshell
The photon emission of the nucleus essentially results from a re-ordering of nucleons within the shells.
This re-ordering often follows α or β decay, and moves the system into a more energetically favorable state.

## Slide 5: γ-decay
γ-ray spectrum of natU

## Slide 6: γ-decay
Most β-decay transitions are followed by γ-decay.

## Slide 7: Classical Electrodynamics
The nucleus is a collection of moving charges, which can induce magnetic/electric fields
The power radiated into a small area element is proportional to
The average power radiated for an electric dipole is:
For a magnetic dipole is

## Slide 8: Electric/Magnetic Dipoles
Electric and magnetic dipole fields have opposite parity:
Magnetic dipoles have even parity and electric dipole fields have odd parity.

## Slide 9: Higher Order Multipoles
It is possible to describe the angular distribution of the radiation field as a function of the multipole order using Legendre polynomials.
: The index of radiation
: The multipole order of the radiation
The associated Legendre polynomials are:
For
For

## Slide 10: Angular Momentum in γ-Decay
The photon is a spin-1 boson
Like α-decay and β-decay the emitted γ-ray can carry away units of angular momentum ℓ, which has given us different multipolarities for transitions.
For orbital angular momentum, we can have values that correspond to our multipolarity.
Therefore, our selection rule is:

## Slide 11: Characteristics of multipolarity
L | multipolarity | π(Eℓ) / π(Mℓ) | angular distribution
1 | dipole | -1 / +1 | 
2 | quadrupole | +1 / -1 | 
3 | octupole | -1 / +1 | 
4 | hexadecapole | +1 / -1 | 
⁞ |  |  | 
ℓ = 1
ℓ =2

## Slide 12: The basics of the situation
ℓ
2
0
Here
this is a stretched transition

## Slide 13: The basics of the situation
ℓ
3
2
Here
and the transition can be a mix of 5 multipolarities

## Slide 14: The basics of the situation
Electromagnetic transitions:
 | yes | E1 | M2 | E3 | M4
 | no | M1 | E2 | M3 | E4
 | yes | E1 | M2 | E3 | M4
 | no | M1 | E2 | M3 | E4

## Slide 15: The basics of the situation
ℓ
2+
0+
 | yes | E1 | M2 | E3 | M4
 | no | M1 | E2 | M3 | E4
 | yes | E1 | M2 | E3 | M4
 | no | M1 | E2 | M3 | E4

## Slide 16: The basics of the situation
ℓ
3+
2-
Here
 | yes | E1 | M2 | E3 | M4
 | no | M1 | E2 | M3 | E4
 | yes | E1 | M2 | E3 | M4
 | no | M1 | E2 | M3 | E4
mixed E1,M2,E3,M4,E5

## Slide 17: The basics of the situation
ℓ
3+
2+
Here
mixed M1,E2,M3,E4,M5
 | yes | E1 | M2 | E3 | M4
 | no | M1 | E2 | M3 | E4
 | yes | E1 | M2 | E3 | M4
 | no | M1 | E2 | M3 | E4

## Slide 18: The basics of the situation
mixed M1,E2,M3,E4,M5
mixed E1,M2,E3,M4,E5
In general only the lowest 2 multipoles compete
and (for reasons we will see later)
multipole generally only competes if it is electric:
mixed M1/E2
almost pure E1 (very little M2 admixture)

## Slide 19: Characteristics of multipolarity
L | multipolarity | π(Eℓ) / π(Mℓ) | angular distribution
1 | dipole | -1 / +1 | 
2 | quadrupole | +1 / -1 | 
3 | octupole | -1 / +1 | 
4 | hexadecapole | +1 / -1 | 
⁞ |  |  | 
parity: electric multipoles π(Eℓ) = (-1)ℓ, magnetic multipoles π(Mℓ) = (-1)ℓ+1
ℓ = 1
ℓ =2
The power radiated is proportional to:
where σ means either E or M and is the E or M multipole moment of the appropriate kind.

## Slide 20: Emission of electromagnetic radiation
where Eγ = Ei – Ef is the energy of the emitted γ quantum in MeV (Ei, Ef are the nuclear level energies, respectively), and the reduced transition probabilities B(Eℓ) in units of e2(barn)ℓ and B(Mℓ) in units of

## Slide 21: Single particle transition (Weisskopf estimate)
For the first few values of λ, the Weisskopf estimates are
gamma energy Eγ [keV]
transition probability λ [s-1]

## Slide 22: Conversion electrons
Energetics of CE-decay (i=K, L, M,….)
Ei = Ef + Ece,i + EBE,i
γ- and CE-decays are independent; transition probability (λ ~ Intensity)
  λT = λγ + λCE = λγ + λK + λL + λM……
Conversion coefficient

## Slide 23: Internal conversion
For an electromagnetic transition internal conversion can occur instead of emission of gamma radiation. In this case the transition energy Q = Eγ will be transferred to an electron of the atomic shell.
Te = Eγ - Be
Te: kinetic energy of the electron
Be: binding energy of the electron
internal conversion is important for:
heavy nuclei ~ Z3
high multipolarities Eℓ or Mℓ
small transition energies

## Slide 24: Electron spectroscopy
Doppler shift correction for projectile:

## Slide 25: Mini Orange setup for conversion electron spectroscopy

## Slide 26: Comparison of α-decay, β-decay and γ-decay
de Broglie wavelength:
decay | Energy [MeV] | de Broglie λ [fm]
α-particle, mα = 3727 MeV/c2 | 5 | 6.42
β-particle, me = 0.511 MeV/c2 | 1 | 871.92
γ-photon | 1 | 
decay | Energy [MeV] | de Broglie λ [fm]
α-particle, mα = 3727 MeV/c2 | 5 | 6.42
β-particle, me = 0.511 MeV/c2 | 1 | 871.92
γ-photon | 1 | 
For α-particles this dimension is somewhat smaller than the nucleus and this is why a semi-classical treatment of α-decay is successful.
The typical β-particle has a large wavelength λ in comparison to the nuclear size and a quantum mechanical is dictated and wave analysis is called for.
For γ-decay the wavelength λ ranges from 12400 – 1240 fm (0.1 – 1 MeV). Clearly, only a quantum mechanical approach has a chance of success.

## Slide 27: γ-decay
γ-spectroscopy yields some of the most precise knowledge of nuclear structure, as spin, parity and ΔE are all measurable.
Transition rates between initial and final nuclear states, resulting from electromagnetic decay producing a photon with energy can be described by Fermi´s Golden rule:
where is the electromagnetic transition operator and is the density of final states. The photon wave function and are well known, therefore measurements of λ provide detailed knowledge of nuclear structure.
A γ-decay lifetime is typically 10-12 [s] and sometimes even as short as 10-19 [s]. However, this time span is an eternity in the life of an excited nucleon. It takes about 4·10-22 [s] for a nucleon to cross the nucleus.

## Slide 28: Interaction of gamma rays with matter
total absorption coefficient: μ/ρ [cm2/g]
Lead
i=1 photoelectric effect
i=2 Compton scattering
i=3 pair production
Aluminum

## Slide 29: Mass dependence of X-ray absorption
For X-ray radiation the photoelectric effect is the most important interaction.
Lead absorbs more than Beryllium!
82Pb serves as shielding for X-ray and γ-ray radiation; lead vests are used by medical staff people who are exposed to X-ray radiation. Co-sources are transported in thick lead container.
On the contrary:
4Be is often used as windows in X-ray tubes to allow for almost undisturbed transmission of X-ray radiation.

## Slide 30: Mass dependence μ/ρ of X-ray absorption
wave length dependence for Pt as absorber
element number dependence for λ=0.1 nm or 12.4 keV

## Slide 31: X-ray image shows the effect of different absorptions
Bones absorb more radiation as tissues because of their higher 20Ca content

## Slide 32: Interaction of gamma rays with matter

## Slide 33: Interaction of gamma rays with matter
Photo effect:
Absorption of a photon by a bound electron and conversion of the γ-energy in potential and kinetical energy of the ejected electron.
(Nucleus preserves the momentum conservation.)

## Slide 34: Interaction of gamma rays with matter
Compton scattering:
Elastic scattering of a γ-ray on a free electron. A fraction of the γ-ray energy is transferred to the Compton electron. The wave length of the scattered γ-ray is increased: λ‘ > λ.
relativistic
Momentum balance:
Energy balance:

## Slide 35: Interaction of gamma rays with matter
Compton scattering:
Elastic scattering of a γ-ray on a free electron. A fraction of the γ-ray energy is transferred to the Compton electron. The wave length of the scattered γ-ray is increased: λ‘ > λ.
Maximum energy of the
scattered electron:
Energy of the scattered
γ-photon:
Special case for E>>mec2:
γ-ray energy after 1800 scatter
is approximately
Gap between the incoming γ-ray and the maximum electron energy.

## Slide 36: Interaction of gamma rays with matter
σCompton
Compton scattering:
Elastic scattering of a γ-ray on a free electron. A fraction of the γ-ray energy is transferred to the Compton electron. The wave length of the scattered γ-ray is increased: λ‘ > λ.

## Slide 37: Interaction of gamma rays with matter
Compton scattering:
Elastic scattering of a γ-ray on a free electron.
The angle dependence is expressed by the
Klein-Nishina-Formula:
As shown in the plot forward scattering (θ small) is dominant for Eγ>100 keV.
Angular distribution:
Intensity as a function of θ:
MeV
r0=2.818 fm (classical electron radius)

## Slide 38: Interaction of gamma rays with matter
Pair production:
If γ-ray energy is >> 2m0c2 (electron rest mass 511 keV), a positron-electron pair can be formed in the strong Coulomb field of a nucleus. This pair carries the γ-ray energy minus 2m0c2.
Pair production for Eγ>2mec2=1.022MeV
γ-ray > 1 MeV
magnetic field
γ’s
e-
picture of a bubble chamber

## Slide 39: Interaction of gamma rays with matter
γ-rays interaction with matter via three main reaction mechanisms:
Photoelectric absorption
Compton scattering
Pair production

## Slide 40: Gamma-ray interaction cross section
All three interaction (photo effect, Compton scattering and pair production) lead to an attenuation of the γ-ray or X-ray radiation when passing through matter. The particular contribution depends on the γ-ray energy:
The absorption attenuates the intensity, but the energy and the frequency of the γ-ray and X-ray radiation is preserved!
Photo effect: ~Z4-5, Eγ-3.5
Compton: ~Z, Eγ-1
Pair: ~Z2, increases with Eγ

## Slide 41: Z dependence of interaction probabilities

## Slide 42: Detector types
Solid state semiconductor detectors: Ge
Electron-hole pairs are collected as charge
knock-on effect → an avalanche arrives at the electrode
lots of electrons → good energy resolution
cooled to liquid N2 temperature (77K) to reduce noise
Advantage: good energy resolution (~0.15% FWHM at 1.3 MeV)
Disadvantage: relative low efficiency, cryogenic operation, limited size of crystal/detector
Scintillation detectors: e.g. NaI, BGO, LaBr3(Ce)
Recoiling electrons excite atoms, which then de-excite by emitting visible light
Light is collected in photomultiplier tubes (PMT) where it generates a pulse proportional to the light collected
Advantage: good time resolution
detector can be made relative large e.g. NaI detector 14”Ø x 10”
no need for cryogenics
Disadvantage: poor energy resolution (~5% FWHM at 1.3 MeV

## Slide 43: Scintillation detectors

## Slide 44: Detector characterization

## Slide 45: Gamma-ray spectrum of a radioactive decay
γ1
γ2
CE γ2
SE γ2
DE γ2
511 keV
BSc
Pb X-ray
γ1+γ2
Pb-Box

## Slide 46: Spins and parities
Two distinct types of measurements:
Angular correlation : can be done with a non-aligned source but need γ-γ coincidence information.
Angular distribution: need an aligned source but can be done with singles data.
...note that these cannot measure parity but you can usually infer something about the transition

## Slide 47: The basics of the situation
Imagine the situation of an M1 decay between two states, the initial one has Jπ value of 1+ and the final one a Jπ of 0+
The initial Jπ=1+ state has 3 degenerate magnetic substates which differ by the magnetic quantum numbers m of and 0.
The final Jπ=0+ state has a single magnetic substate with m=0.
When the substates of Jπ=1+ state decay, the γ-rays emitted have different angular patterns.

## Slide 48: The basics of the situation
For the M1 case the angular distributions W(θ) are:
So the total distribution is
no angular dependence

## Slide 49: Angular correlation – non-oriented source
E1
Let’s imagine we have two γ-rays which follow immediately after each other in the level scheme.
If we measure γ1 or γ2 in singles, then the distribution will be isotropic (same intensity at all angles) ... there is no preferred direction of emission
Now imagine that we measure γ1 and γ2 in coincidence. We say that measuring γ1 causes the intermediate state to be aligned. We define the z-direction as the direction of γ1
The angular distribution of the emission of γ2 then depends on the spin/parities of the states involved and on the multipolarity of the transition.

## Slide 50: A simple example:
E1
1+
0+
0+
Hence, for γ2 we only see the m=±1 to m=0 part of the distribution i.e. we see that the intensity measured as a function of angle (relative to γ1) follows a distribution.

## Slide 51: General formula
E1
J2
J3
J1
where
θ is the relative angle between the two γ-rays
Qk accounts for the fact that we do not have point detectors
Ak depends on the details of the transition and the spins of the level
In general, the γ-ray intensity varies as:
I1 (ℓ1) | I2 (ℓ2) | I3 | a2 | a4
0 (1) | 1 (1) | 0 | 1 | 0
1 (1) | 1 (1) | 0 | -1/3 | 0
1 (2) | 1 (1) | 0 | -1/3 | 0
2 (1) | 1 (1) | 0 | 1/13 | 0
3 (2) | 1 (1) | 0 | -3/29 | 0
0 (2) | 2 (2) | 0 | -3 | 4
1 (1) | 2 (2) | 0 | -1/3 | 0
2 (1) | 2 (2) | 0 | 3/7 | 0
2 (2) | 2 (2) | 0 | -15/13 | 16/13
3 (2) | 2 (2) | 0 | -3/29 | 0
4 (2) | 2 (2) | 0 | 1/8 | 1/24
R.D. Evans, The Atomic Nucleus

## Slide 52: General formula
E1
J2
J3
J1
where
θ is the relative angle between the two γ-rays
Qk accounts for the fact that we do not have point detectors
Ak depends on the details of the transition and the spins of the level
In general, the γ-ray intensity varies as:
https://griffincollaboration.github.io/AngularCorrelationUtility/
Ferentz-Rosenzweig coefficients

## Slide 53: A special case:

## Slide 54: Angular correlations with arrays
Many arrays are designed symmetrically, so the range of possible angles is reduced.
Therefore one measures a Directional Correlation from Oriented Nuclei (DCO ratio)
In the simplest case, if you have an array with detectors at 350 and 900.
Gate on 900 detector, measure coincident intensities in
other 900 detectors
350 detectors
Take the ratio and compare with calculations ... can usually separate quadrupoles from dipoles but cannot measure mixing ratios

## Slide 55: Angular correlations with arrays

## Slide 56: Angular distribution
In heavy-ion fusion-evaporation reactions, the compound nuclei have their spin aligned in a plane perpendicular to the beam axis:
Depending on the number and type of particles ‘boiled off’ before a γ-ray is emitted, transitions are emitted from oriented nuclei and therefore their intensity shows an angular dependence.
where Ak, Qk and Pk are as before and Bk contains information about the alignment of the state

## Slide 57: Angular distribution
Measure: the γ-ray yield as a function of θ

## Slide 58: Linear polarization
A segmented detector can be used to measure the linear polarization which can be used to distinguish between magnetic (M) and electric (E) character of radiation of the same multipolarity.
The Compton scattering cross section is larger in the direction perpendicular to the electrical field vector of the radiation.
Define experimental asymmetry as:
where N90 and N0 are the intensities of scattered photons perpendicular and parallel to the reaction plane.
The experimental linear polarization P=A/Q where Q is the polarization sensitivity of the detector
Q~13% at 1 MeV

## Slide 59: Linear polarization
Maximum polarization at θ=900
Klein-Nishina formula:

## Slide 60: Proof of Principle
N. Pietralla, Nucl Instr Meth A483, 556 (2002)

## Slide 61: Linear polarization

## Slide 62: Efficiency versus resolution
With a source at rest, the intrinsic resolution of the detector can be reached;
efficiency decreases with the increasing detector-source distance.
With a moving source also the effective energy resolution depends on the detector-source distance (Doppler effect)
Small d Large d
Large W Small W
High e Low e
Poor FWHM Good FWHM

## Slide 63: Energy resolution
The major factors affecting the final energy resolution (FWHM) at a particular energy are as follows:
The intrinsic resolution of the detector system.
It includes contributions from the detector itself and
the electronic components used to process the signal.
The Doppler broadening arising from the opening angle of
the detectors
The Doppler broadening arising from the angular spread of the
recoils in the target
The Doppler broadening arising from the velocity (energy)
variation of the excited nucleus

## Slide 64: Special relativity
Lorentz transformation:

## Slide 65: Lorentz transformation
rest system
laboratory system
P* = const.
total energy:
with
E*, P* total energy and momentum in the rest system
E, P total energy and momentum in the laboratory system
Doppler formula for zero-mass particle (photon): E=Pc
E. Byckling, K. Kajantie J. Wiley & Sons London
Hendrik Lorentz

## Slide 66: Doppler effect
for

## Slide 67: Doppler broadening and position resolution
Position resolution
Angular resolution
Energy resolution
beam
projectile
g ray

## Slide 68: Doppler broadening (opening angle of detector)
with
for

## Slide 69: Doppler broadening (velocity variation)
for
with

## Slide 70: Experimental arrangement
experimental problem:
Doppler broadening due to finite size of Ge-detector
for
For projectile excitation:
with
Doppler shift
Doppler broadening

## Slide 71: Inelastic heavy-ion scattering
raw γ-ray spectrum
181Ta
238U

## Slide 72: Lorentz transformation
γ-ray angular distribution
Contraction of the solid angle element in the laboratory system
with
Doppler formula

## Slide 73: Experimental arrangement (electron detection)
Doppler broadening
Δϑe = 200
target – Mini-Orange: 19 cm
Mini-Orange – Si detector: 6 cm
For projectile excitation:
with

## Slide 74: Lorentz transformation
γ-rays
γ-rays
energy shift
solid angle contraction
10%
20%

## Slide 75: Segmented detectors
70cm
20cm
beam
target

## Slide 76: Recoil distance method

## Slide 77: Doppler Shift Attenuation Method
target
stopper
beam
Germanium
detector

## Slide 78: Gamma-ray tracking
Gamma Arrays based on Compton Suppressed Spectrometers
Tracking Arrays based on
Position Sensitive Ge Detectors
ε ~ 50 - 25 %
( Mγ = 1 - Mγ = 30)
ε ~ 10 - 7 %
( Mγ = 1 – Mγ = 30)
GAMMASPHERE
EUROBALL
GRETA
AGATA

## Slide 79: Legendre polynomials