## Slide 1: Outline: Radiation emission
Lecturer: Hans-Jürgen Wollersheim
e-mail: h.j.wollersheim@gsi.de
web-page: https://web-docs.gsi.de/~wolle/ and click on
photons in the universe
nuclear resonance fluorescence
synchrotron radiation
wiggler and undulator
inverse Compton scattering

## Slide 2: Photons in the universe

## Slide 3: Photons in the universe

## Slide 4: Element production on the sun

## Slide 5: Spectral lines of hydrogen
absorption
hydrogen gas
absorption spectrum

## Slide 6: Element production on the sun
6
Hydrogen emission spectrum
wave length nm

## Slide 7: Spectral analysis
7
H
Spectral analysis
Kirchhoff und Bunsen:
Every element has a characteristic emission band
Max Planck

## Slide 8: Nuclear Resonance Fluorescence
Nuclear Resonance Fluorescence (NRF) is analogous to atomic resonance fluorescence but depends upon the number of protons AND the number of neutrons in the nucleus

## Slide 9: Low energy photon scattering at S-DALINAC
“white“ photon spectrum
wide energy region examined

## Slide 10: Absorption processes

## Slide 11: Principle of measurement and self absorption

## Slide 12: First γγ-coincidences in a γ-beam

## Slide 13: First γγ-coincidences in a γ-beam

## Slide 14: First γγ-coincidences in a γ-beam

## Slide 16: What is synchrotron radiation?
Electromagnetic radiation is emitted by charged particles when accelerated
The electromagnetic radiation emitted when the charged particles are accelerated radially is called synchrotron radiation.
It is produced in the synchrotron radiation source using bending magnets, undulators and wigglers
EM radiated from an antenna:
time-varying current runs up and down the antenna, and in the process emits radio waves
At the heart of the Crab nebula is a rapidly-spinning neutron star, a pulsar, and it powers the strongly polarized bluish ‘synchrotron’ nebula.

## Slide 17: Properties of Synchrotron Radiation: Radiation Spectrum
The Electromagnetic Spectrum

## Slide 18: Discovery of X-rays ~100 years ago
X-ray were discovered (accidentally) in 1895 by Wilhelm Konrad Roentgen.
Roentgen won the first Nobel Prize in 1901 “for the discovery with which his name is linked for all time: the … so-called Roentgen rays, as he himself called them, X-rays …”
first commercial X-ray tube

## Slide 19: Synchrotron Radiation
Lorentz Force:
Synchrotron Radiation
Electromagnetic radiation produced by relativistic charged particles accelerated in circular orbits.

## Slide 20: Discovery of Synchrotron Radiation ~50 years ago
Synchrotron radiation was first observed (accidentally) from a 70 MeV synchrotron in 1947
On April 24, 1947 Langmuir and I [Herbert Pollack] were running the machine and as usual were trying to push the electron gun and its associated pulse transformer to the limit. Some intermittent sparking had occurred and we asked the technician to observe with a mirror around the protective concrete wall. He immediately signaled to turn off the synchrotron as “he saw an arc in the tube”. The vacuum was still excellent, so Langmuir and I came to the end of the wall and observed. At first we thought it might be due to Cherenkow radiation, but it soon became clear that we were seeing Ivanenko and Pomeranchuk [i.e. synchrotron] radiation.

## Slide 21: Radiation from moving charges
Charge at rest: Coulomb field, no radiation
Uniformly moving charge, no radiation
(Cherenkov radiation)
Accelerating charge
→ Bremsstrahlung, antennas
→ Synchrotron radiation
v = constant
v = constant
a

## Slide 22: Properties of Synchrotron Radiation: Angular Distribution
Radiation becomes more focused at higher energies

## Slide 23: Synchrotron radiation from relativistic electrons
angle dependent Doppler shift

## Slide 24: Synchrotron radiation from relativistic electrons

## Slide 25: Radiation Patterns when v approaches c
As approaches 1:
The shape of the radiation pattern is changing; it is more forward peaked
The size of the radiation pattern is changing; it is getting bigger
So at , the node at (in the frame of the radiating particle, rest frame) transforms to:
In fact, the opening angle in both the horizontal and vertical directions, is given approximately by:

## Slide 26: Synchrotron Radiation
Consider a charged particle in homogeneous field B
The acceleration in B is given by
where the bending radius of charged particle, , at energy is
Larmor radius
Then the instantaneous radiation power becomes
classical electron radius

## Slide 27: Synchrotron Radiation Power and Energy Loss for Electrons
Instantaneous Synchrotron Radiation Power for a single electron
with
Energy loss per turn for a single particle in an isomagnetic lattice with bending radius is given by integrating over the lattice
The average Radiated Power for an entire beam is
Radiated Power varies as the inverse fourth power of particle mass. Comparing radiated power from a proton vs. an electron, we have:

## Slide 28: Synchrotron Radiation Photon Numbers
Total photon numbers

## Slide 29: Some useful formulas for synchrotron radiation
where

## Slide 30: Accelerator Synchrotron Sources
Synchrotron radiation is generated in normal accelerator bending magnets
There are also special magnets called wigglers and undulators which are designed for this purpose.

## Slide 31: Bright and powerful X-rays from relativistic electrons
___Synchrotron radiation___ | ___Undulator radiation___
1010 brighter than the most powerful (compact) laboratory source An X-ray “light bulb” in that it radiates all “colors” (wavelengths, photons energies) | Lasers exist for the IR, visible, UV, VUV and EUV Undulator radiation is quasi-monochromatic and highly directional, approximating many of the desired properties of an X-ray laser

## Slide 32: Layout of a synchrotron radiation source
Electrons are generated and accelerated in a LINAC, further accelerated to the required energy in a booster and injected and stored in a storage ring.
The circulating electrons emit an intense beam of synchrotron radiation which is sent down the beamlines.
200 MeV
6 GeV

## Slide 33: Synchrotron Light Sources

## Slide 34: Synchrotron Radiation Spectrum
Bending Magnet Radiation covers a broad region of the spectrum, including the primary absorption edges of most elements.
Advantages: cover broad spectral range
least expensive
most accessible
Disadvantages: limited coverage of hard X-rays
not as bright as undulator

## Slide 35: Synchrotron Radiation Spectrum
For a wiggler or single bend magnet, the radiation spectrum depends on a single parameter, the critical energy
The distribution for longer wavelengths does not depend on energy
photon energy:
wavelength:

## Slide 36: Insertion Devices
Undulator: Electron beam is periodically deflected by a weak magnetic field. Particle emits radiation at wavelength of the periodic motion, divided by . So period of cm for magnets results in radiation in VUV to X-ray regime.
Wiggler: Electron beam is periodically deflected by strong bending magnets. Motion is no longer pure sinusoid and radiation spectrum is continuous up to a critical cut off photon energy . Spectrum is infrared to hard X-rays.

## Slide 37: Three Forms of Synchrotron Radiation

## Slide 38: An Undulator up close
ALS U5 undulator, beamline 7.0, N = 89,

## Slide 39: Undulator Radiation

## Slide 40: How to characterize the properties of a synchrotron radiation source?
T
Brilliance is the figure of merit for the design of a new synchrotron source
100%
70.7%

## Slide 41: Brilliance
Brilliance takes into account:
  Number of photons produced per second
  The angular divergence of the photons, or how fast the beam spreads out
  The cross-section area of the beam
  the photons falling within a bandwidth of 0.1% of the central wavelength or frequency
SRS = Synchrotron Radiation Source
Oxfordshire, UK

## Slide 42: Layout of a synchrotron radiation source
Electrons are generated and accelerated in a LINAC, further accelerated to the required energy in a booster and injected and stored in a storage ring.
The circulating electrons emit an intense beam of synchrotron radiation which is sent down the beamlines.
Soleil, France

## Slide 43: Applications
Medicine, Biology, Chemistry, Material Science, Environmental Science and more
Biology
Reconstruction of the 3D structure of a nucleosome with a resolution of 0.2 nm
Archeology
A synchrotron X-ray beam at the SSRL facility illuminated an obscured work erased, written over and even painted over of the ancient mathematical genius Archimedes 287 B.C.
The collection of precise information on the molecular structure of chromosomes and their components can improve the knowledge of how the genetic code of DNA is maintained and reproduced
X-ray fluorescence imaging revealed the hidden text by revealing the iron contained in the ink used by a 10th century scribe. This X-ray image shows the lower left corner of the page.

## Slide 44: Protein Crystallography
X-rays
Protein crystal
Diffraction pattern

## Slide 45: Bragg Scattering in Crystals
Regular structure (crystal)
Monochromatic light
Diffractive Pattern

## Slide 46: Imaging of magnetic domains
Circularly polarized SR,
E = 778 eV
Co/Pt
multilayer

## Slide 48: Future experiments with Synchrotron Radiation
Improvement of:
Spatial resolution
Energy resolution
Time resolution
Most of present-day experiments are dealing with equilibrium properties of condensed matter. In the future, non-equilibrium properties will be of great interest:
Dynamics of phase transitions, magnetic switching phenomena, chemical reactions etc.
Reveal the underlying mechanisms by taking snapshots on ultrashort time scales!

## Slide 49: Future experiments with Synchrotron Radiation

## Slide 50: New radiation sources
Limits of Storage – Ring Based Sources
Beam properties reflect the equilibrium
Dynamics of particle in the ring, resulting from averaging over all revolutions
Particles are re-cycled
Development of New Radiation Sources
Radiation is generated by single bunches passing through an undulator
Energy – Recovery Linear Accelerator (ERL)
Sub-Picosecond Pulsed Sources (SPPS)
X-ray Free Electron Laser (XFEL)

## Slide 51: New radiation sources
Limits of Storage – Ring Based Sources
Beam properties reflect the equilibrium
Dynamics of particle in the ring, resulting from averaging over all revolutions
Particles are re-cycled
Development of New Radiation Sources
Radiation is generated by single bunches passing through an undulator
Energy – Recovery Linear Accelerator (ERL)
Sub-Picosecond Pulsed Sources (SPPS)
X-ray Free Electron Laser (XFEL)

## Slide 52: X-ray free electron laser
Desy XFEL
Explosion of a biomolecule (T4 lysozyme) after exposure to a 2-fs XFEL pulse (E=12 keV)
self-amplified spontaneous emission

## Slide 53: Free Electron Laser (FEL) Principle
Fourth Generation light sources generally utilize free electron lasers (FELs) to increase brightness by at least an order of magnitude over Third Generation light source by using coherent production.
relativistic electron beam passes through periodic magnetic field – radiates
mirror feeds spontaneous emission back into beam
spontaneous emission enhanced by stimulated emission
where:
is the undulator period
is in Tesla and is in cm

## Slide 55: Total power received by Earth from the Sun
174 Peta (1015) Watt
@
extreme light infrastructure, Europe

## Slide 56: Compton scattering and inverse Compton scattering
Compton scattering:
Elastic scattering of a high-energy γ-ray on a free electron.
A fraction of the γ-ray energy is transferred to the electron.
The wave length of the scattered γ-ray is increased: λ‘ > λ.
Inverse Compton scattering:
Scattering of low energy photons on ultra-relativistic electrons.
Kinetic energy is transferred from the electron to the photon.
The wave length of the scattered γ-ray is decreased: λ‘ < λ.

## Slide 57: Inverse Compton scattering
Electron is moving at relativistic velocity
Transformation from laboratory frame to reference frame of e- (rest frame): in order to repeat the derivation for Compton scattering
Doppler shift
Lorentz factor:
Compton scattering in rest frame of e-
Limit
transformation into the laboratory frame
electron and γ interaction
γ‘ emission relative to electron
differential cross section (Klein-Nishina)

## Slide 58: Laser Compton backscattering
Energy – momentum conservation yields Doppler upshift
Thomsons scattering cross section is very small (6·10-25 cm2)
High photon and electron density are required

## Slide 59: Gamma rays resulting after inverse Compton scattering
A. H. Compton
Nobel Prize 1927
photon scattering on relativistic electrons (γ >> 1)
recoil parameter
normalized potential vector of the laser field
E = laser electric field strength
Lorentz factor
maximum frequency amplification:
head-on collision (θL = 00) & backscattering (θγ = 00)

## Slide 60: Scattered photons in collision
Luminosity:
γ-ray rate:
(full spectrum)
Yb: Yag J-class laser
10 Peta (1015) Watt
repetition rate:

## Slide 61: Thomson Scattering
J. J. Thomson
Nobel prize 1906
Thomson scattering = elastic scattering of electromagnetic radiation by an electron at rest
the electric and magnetic components of the incident wave act on the electron
the electron acceleration is mainly due to the electric field
→ the electron will move in the direction of the oscillating electric field
→ the moving electron will radiate electromagnetic dipole radiation
→ the radiation is emitted mostly in a direction perpendicular to the motion of
the electron
→ the radiation will be polarized in a direction along the electron motion

## Slide 62: Thomson Scattering
J. J. Thomson
Nobel prize 1906
differential cross section
classical electron radius

## Slide 63: Scattered photons in collision
θ = 0
θ = π
Compton edge

## Slide 64: Laser Compton backscattering

## Slide 65: Inverse Compton scattering of laser light

## Slide 66: Gamma rays resulting after inverse Compton scattering

## Slide 67: Extreme Light Infrastructure – Nuclear Physics

## Slide 68: Nuclear Resonance Fluorescence
Widths of particle-bound states:
Breit-Wigner absorption resonance curve for isolated resonance:
Resonance cross section can be very large: (for Γ0 = Γ, 5 MeV)
Example: 10 mg, A~200 → Ntarget = 3·1019, Nγ = 100, event rate = 0.6 [s-1]

## Slide 69: Nuclear Resonance Fluorescence
Count rate estimate
104 γ/(s eV) in 100 macro pulses
100 γ/(s eV) per macro pulse
example: 10 mg, A ~ 200 target
resonance width Γ = 1 eV
2 excitations per macro pulse
0.6 photons per macro pulse in detector
pp-count rate 6 Hz
1000 counts per 3 min
8 HPGe detectors
2 rings at 900 and 1270
εrel(HPGe) = 100%
solid angle ~ 1%
photopeak εpp ~ 3%
narrow band width 0.5%

## Slide 70: Nuclear Resonance Fluorescence
narrow bandwidth allows selective excitation and detection of decay channels

## Slide 71: Deformation and Scissors Mode
Decay to intrinsic excitations