## Slide 1: Signal processing
Lecture: Hans-Jürgen Wollersheim
e-mail: h.j.wollersheim@gsi.de
Working with an oscilloscope
Signal processing

## Slide 2: Digital Oscilloscope

## Slide 3: Understanding the Scope’s Display

## Slide 4: Making Measurements – by visual estimation

## Slide 5: Primary Oscilloscope Setup Controls

## Slide 6: Properly Scaling the Waveform

## Slide 7: Understanding Oscilloscope Triggering

## Slide 8: Trigger Examples

## Slide 11: Signal processing

## Slide 12: Shaping amplifier
Shape pulses to:
Improve signal to noise
Reduce pileup effects
Keep signal height information
Lose shape information

## Slide 13: Shaping amplifier
Shape pulses to:
Improve signal to noise
Reduce pileup effects
Keep signal height information
Lose shape information

## Slide 14: Shaping amplifier

## Slide 15: Signal processing

## Slide 16: Constant Fraction Discriminator
Adding of the signals (a) and (b)
(The zero crossing is independent of the signal amplitude)
The other signal (b) gets delayed
One signal (a) is in-verted and attenuated
Input signals
Rectangular output signal
a
b

## Slide 17: The coincidence unit
detector 1:
detector 2:
(detector 1) AND (detector 2):
detector 1:
detector 2:
(detector 1) AND (detector 2):

## Slide 18: Coincidence electronic