## Slide 1: Outline: electron spectroscopy
Lecturer: Hans-Jürgen Wollersheim
e-mail: h.j.wollersheim@gsi.de
web-page: https://web-docs.gsi.de/~wolle/ and click on
Coulomb excitation and fusion reaction
surface oscillations in deformed nuclei
E0/E2 branching ratio
experiments with orange spectrometer

## Slide 2: Doppler-corrected e- and γ-ray spectroscopy
Physical Motivation
  In-beam conversion electron spectroscopy complements the results obtained from γ-spectroscopy
  A method for determining the multipolarity of nuclear transitions
  The only method for detecting E0-transitions
Doppler Correction after Inelastic Heavy Ion Scattering
  238U + 181Ta system at the Coulomb barrier
  Electron spectroscopy with mini-orange devices
Doppler Correction after (HI,xn)-Reaction
  26Mg(136Xe,4n)158Dy reaction
  Electron spectroscopy with high transmission orange-β spectrometer
Summary

## Slide 3: 207Bi source
γ-energy [keV] | e—energy [keV]
569.6 | 481.7 [K]
 | 553.8-556.7 [L]
 | 565.8-567.2 [M]
1063.7 | 975.7 [K]
 | 1047.8-1050.6 [L]
 | 1059.8-1061.2 [M]
207Bi emits γ-rays and electrons

## Slide 4: Energy resolution with 207Bi source in vacuum
Front Junction Side
Rear Ohmic Side
MICRON #2512-17
Voltage: 200V
207Bi E=482, 976 keV
range 0.94, 2.31 mm (e-e- interaction)
experimental set-up

## Slide 5: Conversion electron spectroscopy
lifetime of a nuclear state:
total conversion coefficient:

## Slide 6: Coulomb excitation

## Slide 7: Coulomb excitation experiment

## Slide 8: Doppler effect
moving source
uncorrected spectrum
Christian Doppler

## Slide 9: Surface oscillations in deformed nuclei
e- γ
E0 or E2 transition
β - vibration

## Slide 10: E0/E2 branching ratio
= 14 β2 for 2β→2
~Z7.5
ΩK: conversion probability electronic factor
D.A. Bell et al.; Can. J. of Phys. 48 (1970),2542

## Slide 11: Doppler-corrected e- and γ-ray spectroscopy
γ-ray spectrum
e- spectrum

## Slide 12: Lorentz transformation
rest system
laboratory system
P* = const.
total energy:
with
E*, P* total energy and momentum in the rest system
E, P total energy and momentum in the laboratory system
Doppler formula for zero-mass particle (photon): E=Pc
E. Byckling, K. Kajantie J. Wiley & Sons London
Hendrik Lorentz

## Slide 13: Experimental arrangement
experimental problem:
Doppler broadening due to finite size of Ge-detector
for
For projectile excitation:
with
Doppler shift
Doppler broadening

## Slide 14: Inelastic heavy-ion scattering
raw γ-ray spectrum
181Ta
238U

## Slide 15: Lorentz transformation
γ-ray angular distribution
Contraction of the solid angle element in the laboratory system
with
Doppler formula

## Slide 16: Electron spectroscopy with mini-orange devices
magnetic filters
SmCo5 magnets
for symmetric configuration 1 – 5 kG
J. v. Klinken et al.; NIM 151 (1978) 433
T. Dresel et al.; NIM A275 (1989) 301

## Slide 17: Experimental arrangement
Doppler broadening
Δϑe = 200
target – Mini-Orange: 19 cm
Mini-Orange – Si detector: 6 cm
For projectile excitation:
with

## Slide 18: Lorentz transformation
γ-rays
γ-rays
energy shift
solid angle contraction
10%
20%
The Doppler shift in kinetic energy of electrons is larger than the Doppler shift of massless photons of similar energy.
The Lorentz transformation also leads to a contraction of the solid angle in the laboratory system.

## Slide 19: Electron spectroscopy with mini-orange devices
transmission window

## Slide 20: Coulomb excitation experiment

## Slide 21: Experimental arrangement
optimal energy resolution:
cos θe1 = ±1

## Slide 22: Compound nucleus formation
Lorentz transformation:

## Slide 23: Experimental arrangement with orange spectrometer
β = 0.1
β = 0.0
optimal focusing: β,
L. Handschug et al.; NIM 161 (1979) 117

## Slide 24: Conversion electron spectroscopy after (HI,xn)-reactions
A. Balanda et al.; GSI 79-11, p.50

## Slide 25: Summary