## Slide 1: Outline: Doppler effect
Lecturer: Hans-Jürgen Wollersheim
e-mail: h.j.wollersheim@gsi.de
web-page: https://web-docs.gsi.de/~wolle/ and click on
special relativity
Lorentz transformation
Doppler effect and broadening
γ- and electron detection

## Slide 2: Efficiency versus resolution
With a source at rest, the intrinsic resolution of the detector can be reached;
efficiency decreases with the increasing detector-source distance.
With a moving source also the effective energy resolution depends on the detector-source distance (Doppler effect)
Small d Large d
Large W Small W
High e Low e
Poor FWHM Good FWHM

## Slide 3: Energy resolution
The major factors affecting the final energy resolution (FWHM) at a particular energy are as follows:
The intrinsic resolution of the detector system.
It includes contributions from the detector itself and
the electronic components used to process the signal.
The Doppler broadening arising from the opening angle of
the detectors
The Doppler broadening arising from the angular spread of the
recoils in the target
The Doppler broadening arising from the velocity (energy)
variation of the excited nucleus

## Slide 4: Special relativity
Lorentz transformation:

## Slide 5: Lorentz transformation
rest system
laboratory system
P* = const.
total energy:
with
E*, P* total energy and momentum in the rest system
E, P total energy and momentum in the laboratory system
Doppler formula for zero-mass particle (photon): E=Pc
E. Byckling, K. Kajantie J. Wiley & Sons London
Hendrik Lorentz

## Slide 6: Electron detection
Doppler broadening
Δϑe = 200
target – Mini-Orange: 19 cm
Mini-Orange – Si detector: 6 cm
For projectile excitation:
with

## Slide 7: Doppler effect
for

## Slide 8: Doppler broadening and position resolution
Position resolution
Angular resolution
Energy resolution
beam
projectile
g ray

## Slide 9: Doppler broadening (opening angle of detector)
with
for

## Slide 10: Doppler broadening (velocity variation)
for
with

## Slide 11: Experimental arrangement
experimental problem:
Doppler broadening due to finite size of Ge-detector
for
For projectile excitation:
with
Doppler shift
Doppler broadening

## Slide 12: Example: inelastic heavy-ion scattering
raw γ-ray spectrum
181Ta
238U

## Slide 13: Lorentz transformation
γ-ray angular distribution
Contraction of the solid angle element in the laboratory system
with
Doppler formula

## Slide 14: Experimental arrangement (electron detection)
Doppler broadening
Δϑe = 200
target – Mini-Orange: 19 cm
Mini-Orange – Si detector: 6 cm
For projectile excitation:
with

## Slide 15: Lorentz transformation
γ-rays
γ-rays
energy shift
solid angle contraction
10%
20%

## Slide 16: Segmented detectors
70cm
20cm
beam
target

## Slide 17: Recoil distance method

## Slide 18: Doppler Shift Attenuation Method
target
stopper
beam
Germanium
detector

## Slide 19: Gamma-ray tracking
Gamma Arrays based on Compton Suppressed Spectrometers
Tracking Arrays based on
Position Sensitive Ge Detectors
ε ~ 50 - 25 %
( Mγ = 1 - Mγ = 30)
ε ~ 10 - 7 %
( Mγ = 1 – Mγ = 30)
GAMMASPHERE
EUROBALL
GRETA
AGATA